## Slide 1
Decision framing and thesis: AI Data-center Cooling-system
Claim origin: documentary fact
01
RECOMMENDED DECISION
✓
Approve a phased combined response: instrument the baseline, commission automated pump failover, and then tighten sensor calibration governance.
1
BASELINE
2
FAILOVER
3
GOVERNANCE
EVIDENCE
01
Redundant sensing reduces single-point blind spots but does not remove calibration drift risk.
02
A loss of reliable flow telemetry can hide a developing restriction until component temperatures begin to rise.
PHASED DECISION PATH
INSTRUMENT THE BASELINE
COMMISSION AUTOMATED PUMP FAILOVER
TIGHTEN SENSOR CALIBRATION GOVERNANCE
AI Data Center Cooling Risk Decision Report, page 3 | AI Data Center Cooling System Overview, page 2 | AI Data Center Cooling System Overview, page 2
Source notes: page 3, block 2 — AI Data Center Cooling Risk Decision Report; page 2, block 6 — AI Data Center Cooling System Overview; page 2, block 5 — AI Data Center Cooling System Overview
1 / 6

## Slide 2
System and operating process
Claim origin: documentary fact
02
CLOSED-LOOP OPERATING PROCESS
1
STEP 01
HEAT REJECTION
Heat rejection is the transfer of collected thermal energy from the facility loop to an external sink without mixing the two fluids.
→
2
STEP 02
PRIMARY LOOP
The primary cooling loop is the closed fluid path that carries heat from compute cold plates to a facility heat exchanger.
→
3
STEP 03
SENSE & CONTROL
Temperature, flow, and differential-pressure sensors feed a local controller that adjusts pump speed and valve position every control interval.
→
4
STEP 04
COLD-PLATE INTAKE
Stage 1 moves coolant through cold plates where server heat enters the primary loop.
PRIMARY LOOP → SENSORS → CONTROLLER → HEAT REJECTION
AI Data Center Cooling System Overview, page 1 | AI Data Center Cooling System Overview, page 1 | AI Data Center Cooling System Overview, page 2 | AI Data Center Cooling System Overview, page 1
Source notes: page 1, block 3 — AI Data Center Cooling System Overview; page 1, block 2 — AI Data Center Cooling System Overview; page 2, block 2 — AI Data Center Cooling System Overview; page 1, block 4 — AI Data Center Cooling System Overview
2 / 6

## Slide 3
Evidence-backed risk findings
Claim origin: documentary fact
03
EVIDENCE-BACKED RISK FIELD
01
Redundant sensing reduces single-point blind spots but does not remove calibration drift risk.
RISK FINDING 01
02
A loss of reliable flow telemetry can hide a developing restriction until component temperatures begin to rise.
RISK FINDING 02
03
Shared heat-rejection saturation can affect multiple compute rows at the same time.
RISK FINDING 03
04
A combined option can address both rapid flow loss and slower sensor degradation without requiring a full plant redesign.
RISK FINDING 04
05
Facility heat-rejection capacity remains a shared upstream constraint even when the primary loop is healthy.
RISK FINDING 05
SENSING · FLOW · SHARED HEAT REJECTION · COMBINED RESPONSE
AI Data Center Cooling System Overview, page 2 | AI Data Center Cooling System Overview, page 2 | AI Data Center Cooling Risk Decision Report, page 1 | AI Data Center Cooling Risk Decision Report, page 2 | AI Data Center Cooling System Overview, page 3
Source notes: page 2, block 6 — AI Data Center Cooling System Overview; page 2, block 5 — AI Data Center Cooling System Overview; page 1, block 4 — AI Data Center Cooling Risk Decision Report; page 2, block 5 — AI Data Center Cooling Risk Decision Report; page 3, block 4 — AI Data Center Cooling System Overview
3 / 6

## Slide 4
OPTION A ROW 01 | Option A adds pump-path redundancy and automated failover, giving the strongest interruption protection at the highest implementation effort.
OPTION B ROW 02 | Option B increases monitoring and calibration frequency, reducing detection delay at lower effort but leaving pump-path exposure unchanged.
DECISION RULE ROW 03 | Prefer an option that protects thermal margin, preserves maintainability, and can be verified through staged commissioning.
OPERATING GUARDRAIL ROW 04 | The synthetic normal supply-temperature target is 27 C with an allowed steady-state band of plus or minus 1 C.
Response options and trade-offs
Claim origin: documentary fact
04
EVIDENCE STATEMENT MATRIX
TABLE · 4 ROWS · NATIVE EDITABLE TEXT
AI Data Center Cooling Risk Decision Report, page 2 | AI Data Center Cooling Risk Decision Report, page 2 | AI Data Center Cooling Risk Decision Report, page 2 | AI Data Center Cooling System Overview, page 2
Source notes: page 2, block 2 — AI Data Center Cooling Risk Decision Report; page 2, block 3 — AI Data Center Cooling Risk Decision Report; page 2, block 4 — AI Data Center Cooling Risk Decision Report; page 2, block 3 — AI Data Center Cooling System Overview
4 / 6

## Slide 5
Recommendation and rationale
Claim origin: documentary fact
05
★
RECOMMENDATION
Approve a phased combined response: instrument the baseline, commission automated pump failover, and then tighten sensor calibration governance.
RATIONALE
1
RATIONALE 01
Prefer an option that protects thermal margin, preserves maintainability, and can be verified through staged commissioning.
2
RATIONALE 02
Redundant sensing reduces single-point blind spots but does not remove calibration drift risk.
3
RATIONALE 03
A loss of reliable flow telemetry can hide a developing restriction until component temperatures begin to rise.
BASELINE
FAILOVER
CALIBRATION
AI Data Center Cooling Risk Decision Report, page 3 | AI Data Center Cooling Risk Decision Report, page 2 | AI Data Center Cooling System Overview, page 2 | AI Data Center Cooling System Overview, page 2
Source notes: page 3, block 2 — AI Data Center Cooling Risk Decision Report; page 2, block 4 — AI Data Center Cooling Risk Decision Report; page 2, block 6 — AI Data Center Cooling System Overview; page 2, block 5 — AI Data Center Cooling System Overview
5 / 6

## Slide 6
Implementation path and source notes
Claim origin: documentary fact
06
IMPLEMENTATION SEQUENCE
1
CONTROL INPUTS
STAGE 01
Temperature, flow, and differential-pressure sensors feed a local controller that adjusts pump speed and valve position every control interval.
→
2
HEAT CAPTURE
STAGE 02
Stage 1 moves coolant through cold plates where server heat enters the primary loop.
→
3
PHASED COMMISSIONING
STAGE 03
Phase 1 records baseline alarms and flow availability; Phase 2 commissions failover under controlled load; Phase 3 audits sensor drift and operating procedures.
→
4
ALARM RESPONSE
STAGE 04
On a high-temperature alarm, the controller verifies sensor agreement, raises pump output, opens the standby path, and requests compute-load reduction if recovery fails.
OBSERVE → COMMISSION → AUDIT → RESPOND
AI Data Center Cooling System Overview, page 2 | AI Data Center Cooling System Overview, page 1 | AI Data Center Cooling Risk Decision Report, page 3 | AI Data Center Cooling System Overview, page 3
Source notes: page 2, block 2 — AI Data Center Cooling System Overview; page 1, block 4 — AI Data Center Cooling System Overview; page 3, block 3 — AI Data Center Cooling Risk Decision Report; page 3, block 2 — AI Data Center Cooling System Overview
6 / 6